## Slide 1: Department of Public Works 2022-2026 Capital Planning
April 13, 2021

## Slide 2: Background
The Dude solutions Capital Forecast has been modified to exempt Fire Stations 2,4 and 5 from review due to the ongoing Fire Station Renovation project started in 2020.
All referenced items, need to be reviewed and detailed cost estimates must be developed. All information presented is based on a visual condition assessment only.

## Slide 3: Town of Plymouth 5 Year Capital Plan
Total: $17,847,770.33
Includes the expected inflation rate of 4.0%
Chart: 5 Year Capital Spending
| 2022 | 2023 | 2024 | 2025 | 2026
 | 1141681.56 | 2274372.97 | 4300664.29 | 8427732.66 | 1730318.85
5 Year Capital Planning |  |  |  |  |  | 
Building | 2023 | 2024 | 2025 | 2026 | Total | % of Total Budget
01 - 1749 Court House | $53,743.61 | $10,620.54 | $365,746.79 | $54,498.84 | $484,609.78 | 2.71%
02-Animal Shelter | $130,295.03 | $12,004.77 | $132,529.26 | $ - | $274,829.06 | 1.54%
03-Cedarville Garage | $696,070.64 | $95,585.22 | $60,046.74 | $2,718.33 | $854,420.93 | 4.78%
04-Crematory | $101,315.30 | $70,738.51 | $ - | $ - | $172,053.81 | 0.96%
05-DPW Annex | $18,720.09 | $557,118.40 | $ - | $ - | $575,838.49 | 3.22%
06-DPW Highway Department Building | $317,154.10 | $474,136.95 | $151,830.57 | $7,619.49 | $950,741.11 | 5.32%
07-DPW Salt Shed | 13495.08 | $ - | $ - | $ - | $13,495.08 | 0.08%
08-Fire Station #1 HQ | $342,058.07 | $27,829.75 | $645,235.70 | $28,571.64 | $1,043,695.16 | 5.84%
10-Fire Station #3 | $93,082.76 | $275,282.11 | $6,539.74 | $480,376.30 | $855,280.91 | 4.79%
13-Fire Station #6 | $220,563.60 | $40,329.59 | $483,074.90 | $191,509.94 | $935,478.03 | 5.23%
15-Fresh Pond Bath House | $0.00 | $122,703.33 | $ - | $ - | $122,703.33 | 0.69%
17-Hedges Pond Great Hall | $2,827.49 | $19,364.15 | $11,296.82 | $3,738.50 | $37,226.96 | 0.21%
19-Main Library | $0.00 | $1,317,699.28 | $ - | $ - | $1,317,699.28 | 7.37%
20-Manomet Library Branch | $58,515.71 | $5,802.66 | $2,076.26 | $ - | $66,394.63 | 0.37%
21-Manomet Transfer Station | $0.00 | $29,569.12 | $ - | $ - | $29,569.12 | 0.17%
22-Manomet Youth Center | $0.00 | $56,511.38 | $ - | $34,775.12 | $91,286.50 | 0.51%
23-Memorial Hall | $878,701.86 | $133,191.39 | $3,537,456.28 | $560,482.07 | $5,109,831.60 | 28.59%
24-Morton Park Bathhouse | $0.00 | $127,971.18 | $ - | $ - | $127,971.18 | 0.72%
25-Nelson Park Restrooms/Concession | $0.00 | $52,944.53 | $ - | $ - | $52,944.53 | 0.30%
26-Plymouth Beach Restrooms | $2,387.13 | $2,814.71 | $18,804.20 | $ - | $24,006.04 | 0.13%
27-Police Station HQ | $337,588.50 | $681,767.10 | $3,013,095.40 | $366,028.62 | $4,398,479.62 | 24.61%
28-Senior Center/Council on Aging | $112,674.51 | $39,447.98 | $ - | $ - | $152,122.49 | 0.85%
31-Vine Hills Cemetery Office | $0.00 | $147,231.64 | $ - | $ - | $147,231.64 | 0.81%
32-Vistitor's Information Center | $36,861.05 | $ - | $ - | $ - | $36,861.05 | 0.21%
Total Per Year | $3,416,054.53 | $4,300,664.29 | $8,427,732.66 | $1,730,318.85 | $17,874,770.33 | 
*Refer to the Dude Solutions Generated Breakdown for Further Information |  |  |  |  |  | 

## Slide 4
Chart: Capital Request Per Town Building over 5 years
| 01 - 1749 Court House | 02-Animal Shelter | 03-Cedarville Garage | 04-Crematory | 05-DPW Annex | 06-DPW Highway Department Building | 07-DPW Salt Shed | 08-Fire Station #1 HQ | 10-Fire Station #3 | 13-Fire Station #6 | 15-Fresh Pond Bath House | 17-Hedges Pond Great Hall | 19-Main Library | 20-Manomet Library Branch | 21-Manomet Transfer Station | 22-Manomet Youth Center | 23-Memorial Hall | 24-Morton Park Bathhouse | 25-Nelson Park Restrooms/Concession | 26-Plymouth Beach Restrooms | 27-Police Station HQ | 28-Senior Center/Council on Aging | 31-Vine Hills Cemetery Office | 32-Vistitor's Information Center
 | 484609.78 | 274829.06 | 854420.93 | 172053.81 | 575838.49 | 950741.11 | 13495.08 | 1043695.16 | 855280.91 | 935478.03 | 122703.33 | 37226.96 | 1317699.28 | 66394.63 | 29569.12 | 91286.5 | 5109831.6 | 127971.18 | 52944.53 | 24006.04 | 4398479.62 | 152122.49 | 147231.64 | 36861.05

## Slide 5: Project Classifications
Chart: 
| Bathroom Fixtures | Drinking Fountain | Elevator | Electrical | Exterior Door | Exterior Enclosure | Exterior Lighting | Exterior Walls | Fire Protection | Food Service | HVAC | Interior Ceiling | Interior Door | Interior Floor | Interior Lighting | Interior Wall | Laundry | Overhead Door | Parking Lots | Plumbing | Roofing | Signage | Site Work
 | 0.025101 | 0.0019223 | 0.031113 | 0.18681 | 0.004399 | 0.0033508 | 0.012121 | 0.042196 | 0.087131 | 0.0040621 | 0.23053 | 0.021624 | 0.030051 | 0.046464 | 0.062907 | 0.035597 | 0.0050284 | 0.0084941 | 0.090614 | 0.024705 | 0.037455 | 0.0071122 | 0.0012126

## Slide 6: Memorial Hall
5 Year Capital Cost
Interior Finishing (Walls, Ceilings, Door Replacement)
Exterior Finishing (Exterior Walls, Trim, Veneer, Windows, Signage)
HVAC system upgrades (HVAC Controls, Boiler System, Water Heater)
Fire Protection System
Total Cost: $5,109,831.00 / 5 Years

## Slide 7: Memorial Hall cont.
Total: $3,819,116.74
Chart: Memorial Hall 5 Year Capital Planning
| 2022 | 2023 | 2024 | 2025 | 2026
 | 215812.06 | 662889.8 | 133191.39 | 3537456.28 | 560482.07
Description | Location | Type | Inflated Est. Cost | Est. Completion Year
Interior Wall Finish, any surface, Prep & Paint | 23-Memorial Hall | Interior Wall | $ 147,670.72 | 2022
Fences & Gates, Wrought Iron, 4' High, Replace | 23-Memorial Hall | Exterior Work | $ 3,413.67 | 2023
Replace - Fire Alarm Control Panel, Addressable | 23-Memorial Hall | Fire Protection | $ 38,419.27 | 2023
Replace - HVAC Controls, Building Automation System (BAS) | 23-Memorial Hall | HVAC | $ 275,711.60 | 2023
Interior Door, Wood Solid-Core, Replace | 23-Memorial Hall | Interior Door | $ 319,414.19 | 2023
Replace - Sprinkler Heads (per SF) | 23-Memorial Hall | Fire Protection | $ 71,150.05 | 2024
Electrical Wiring & Switches, Average or Low Density/Complexity, Replace | 23-Memorial Hall | Electrical | $ 1,834,558.57 | 2025
Replace - Generator, 60 kW | 23-Memorial Hall | ELECTRICAL | $ 84,552.14 | 2025
Replace - Boiler, Gas, 2,501 to 4,200 MBH | 23-Memorial Hall | HVAC | $ 247,523.36 | 2025
Lighting System, Interior, Medium Density & Standard Fixtures, Replace | 23-Memorial Hall | Interior Lighting | $ 622,034.22 | 2025
Roof, Slate, Replace | 23-Memorial Hall | Roof | $ 450,845.94 | 2025
Replace - Fire Alarm System, Office Building | 23-Memorial Hall | FIRE PROTECTION | $ 136,553.32 | 2026
Replace - Boiler, Gas, 2,501 to 4,200 MBH | 23-Memorial Hall | HVAC | $ 257,424.29 | 2026

## Slide 8: Police Department Headquarters
5 Year Capital Cost
Roof Replacement
Interior and Exterior Finishing
HVAC (2 Pipe Hydronic System, Duct Work Replacement)
Total Cost: $ 4,398,479.62 / 5 Years

## Slide 9: Police Department Headquarters Cont.
Total: $4,398,479.62
Chart: Police Department 5 Year Capital Planning
| 2022 | 2023 | 2024 | 2025 | 2026
 | 203286.96 | 134301.54 | 681767.1 | 3013095.4 | 366028.62
Description | Location | Type | Inflated Est. Cost | Est. Completion Year
Interior Wall Finish, any surface, Prep & Paint | 27-Police Station HQ | Interior Wall | $ 203,286.96 | 2022
Replace - Condensing Unit/Heat Pump, 47 TON | 27-Police Station HQ | HVAC | $ 106,634.10 | 2024
Interior Floor Finish, Carpet Commercial Standard, Replace | 27-Police Station HQ | Interior Floor | $ 264,248.27 | 2024
Interior Floor Finish, Vinyl Tile (VCT), Replace | 27-Police Station HQ | Interior Floor | $ 87,326.15 | 2024
Exterior Wall, Brick or Brick Veneer, 1-2 Stories, Repoint | 27-Police Station HQ | Exterior Wall | $ 189,176.93 | 2025
Replace - Fire Alarm System, Office Building | 27-Police Station HQ | FIRE PROTECTION | $ 139,693.61 | 2025
Replace - Sprinkler Heads (per SF) | 27-Police Station HQ | FIRE PROTECTION | $ 78,725.64 | 2025
HVAC System Ductwork, Medium Density, Replace | 27-Police Station HQ | HVAC | $ 1,074,338.62 | 2025
HVAC System Hydronic Piping, 2-Pipe, Replace | 27-Police Station HQ | HVAC | $ 465,751.37 | 2025
Replace - Variable Air Volume (VAV) Unit, 800 CFM | 27-Police Station HQ | HVAC | $ 489,727.03 | 2025
Interior Ceiling Finish, Suspended Acoustical Tile (ACT), Replace | 27-Police Station HQ | Interior Ceiling | $ 111,318.09 | 2025
Roof, Asphalt Shingle 30-Year, Replace | 27-Police Station HQ | Roof | $ 183,029.57 | 2025
Interior Door, Wood Solid-Core, Replace | 27-Police Station HQ | interior door | $ 131,986.84 | 2026

## Slide 10: Total 5 Year Capital Forecast
Chart: Capital Forecast
| 2023 | 2024 | 2025 | 2026
 | 3416054.53 | 4300664.29 | 8427732.66 | 1730318.85